{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["SheetJS"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"SheetJS","index":0,"n_rows":11,"n_cols":12,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
["牧场","设备名称","规程型号","生产厂家","出厂编号","出厂日期","使用部门","责任人","校验日期","有效期至","校验周期","备注"]
["宝鸡牧场","燃煤锅炉1#","SZL6-1.25-AII","呼和浩特市青山锅炉有限责任公司",201010,"2010-08-01","设备处","任孔军","2019/3/11","2020/3/10","2年（内检）\n1年（外检）"]
["宝鸡牧场","燃煤锅炉2#","SZL6-1.25-AII","呼和浩特市青山锅炉有限责任公司",201011,"2010-08-01","设备处","任孔军","2019/3/12","2020/3/11","2年（内检）\n1年（外检）"]
["宝鸡牧场","储气罐","0.84MPA-0.6m³","浙江永源机电制造有限公司","YY180713A1-0298","2018-07-28","设备处","任孔军","2019/3/13","2020/3/12",null,"免检设备"]
["宝鸡牧场","分汽缸","1.25MP-0.174m³","呼和浩特市青山锅炉有限责任公司","R201002","2010-09-05","设备处","任孔军","2019/3/14","2020/3/13","1年"]
["宝鸡牧场","蒸汽管道","DN150",null,null,"2019-10-01","设备处","任孔军","2019/3/15","2020/3/14",null,"因建场时间较长且从未检验，现计划2020年进行校验"]
["宝鸡牧场","储气罐","0.8MPA-1.5m³","青岛海空压力容器有限公司",20145603,"2017-11-01","挤奶处","史海亮","2019/3/16","2020/3/15",null,"免检设备"]
["宝鸡牧场","沼气锅炉","WNS2.0-1.0-Y.Q","杭州华源前线能源设备有限公司","U205-40","2011-05-01","能源处","王立宝","2019/3/17","2020/3/16","2年（内检）\n1年（外检）","2019年已检测完成，检测报告暂时未通知拿取"]
["宝鸡牧场","沼气管道","DN200",null,null,"2011-12-29","能源处","王立宝","2019/3/18","2020/3/17",null,"因建场时间较长且从未检验，现计划2020年进行校验"]
["宝鸡牧场","储气罐","0.84MPA-1.5m³","青岛海空压力容器有限公司","C16-0602","2016-03-01","饲养处","张孝鹏","2019/3/19","2020/3/18",null,"免检设备"]
["宝鸡牧场","立式压力蒸汽灭菌器","LDZM-80KCS","上海申安医疗器械厂",150030,"2015-05-01","品控处","赵秀利","2019/3/20","2020/3/19",null,"计划2020年进行检验"]