{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["SheetJS"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"SheetJS","index":0,"n_rows":7,"n_cols":12,"rows_kept":7,"cut":false,"hidden":false,"merged":[]}
["牧场","设备名称","规程型号","生产厂家","出厂编号","出厂日期","使用部门","责任人","校验日期","有效期至","校验周期","备注"]
["宝鸡牧场","绝缘靴","20kv","天津天天平安公司","—","—","设备处","任孔军","2019-06-28","2019-12-27","6个月"]
["宝鸡牧场","绝缘手套","IAXUEPAI-12000v","天津市津兆福利橡胶制品厂","—","—","设备处","任孔军","2019-06-28","2019-12-27","6个月"]
["宝鸡牧场","验电笔","GDYⅡ型 （10kv）","保定广太电器厂","—","—","设备处","任孔军","2019-06-28","2019-12-27","1年"]
["宝鸡牧场","绝缘靴","20kv","天津天天平安公司","—","—","能源处","王立宝","2019-06-28","2019-12-27","6个月"]
["宝鸡牧场","绝缘手套","IAXUEPAI-12000v","天津市津兆福利橡胶制品厂","—","—","能源处","王立宝","2019-06-28","2019-12-27","6个月"]
["宝鸡牧场","验电笔","GDYⅡ型 （10kv）","保定广太电器厂","—","—","能源处","王立宝","2019-06-28","2019-12-27","1年"]