{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["SheetJS"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"SheetJS","index":0,"n_rows":71,"n_cols":15,"rows_kept":71,"cut":false,"hidden":false,"merged":[]}
["牧场","计量器具名称","规格型号","准确度等级、不确定度或最大允许误差","测量范围","出厂编号","数量","制造单位","检定周期","是否校验","上次检定日期","有效期至","检定单位","计量器具用途","安装使用地点"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",1707008388,1,"沈阳亚特仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","电接点压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",1147,1,"中国红旗仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","耐震压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",5161,1,"沈阳亚特仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",5486,1,"沈阳亚特仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","远传压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",5282,1,"沈阳大成仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","换热"]
["宝鸡牧场","电接点压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",1244,1,"沈阳大成仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","换热"]
["宝鸡牧场","电接点压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",2438,1,"杭州富阳华仪仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","换热"]
["宝鸡牧场","压力表","0-10kpa","10kpa","0-10","OO13",1,"上海奔尔波仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","发酵池"]
["宝鸡牧场","压力表","0-10kpa","10kpa","0-10","OO23",1,"上海奔尔波仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","发酵池"]
["宝鸡牧场","压力表","0-16kpa","16kpa","0-16kpa","无",1,"福禄克仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","发酵池"]
["宝鸡牧场","压力表","0-16kpa","16kpa","0-16kpa","无",1,"福禄克仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","发酵池"]
["宝鸡牧场","压力表","0-16kpa","16kpa","0-16kpa","无",1,"福禄克仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","发酵池"]
["宝鸡牧场","压力表","0-16kpa","16kpa","0-16kpa","无",1,"福禄克仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","发酵池"]
["宝鸡牧场","压力表","0-16kpa","16kpa","0-16kpa","无",1,"福禄克仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","发酵池"]
["宝鸡牧场","压力表","0-16kpa","16kpa","0-16kpa","无",1,"福禄克仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","发酵池"]
["宝鸡牧场","压力表","0-16kpa","16kpa","0-16kpa","无",1,"福禄克仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","发酵池"]
["宝鸡牧场","压力表","0-16kpa","16kpa","0-16kpa","无",1,"福禄克仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","发酵池"]
["宝鸡牧场","压力表","0-16kpa","16kpa","0-16kpa","无",1,"福禄克仪表厂","6个月","是","2019-09-27","2020-03-26","通辽市产品质量计量检测所","安全防护","发酵池"]
["宝鸡牧场","压力表","0-2.5Mpa","0.3Mpa","0.1-0.3Mpa",1503088,1,"上海宜川上岭仪表有限公司","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","高压灭菌锅"]
["宝鸡牧场","压力表","0.1-0.3Mpa","0.3Mpa","0.1-0.3Mpa","17-11391",1,"上海宜川上岭仪表有限公司","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","高压灭菌锅"]
["宝鸡牧场","压力表","YQT-03","0.6Mpa","0-0.6Mpa","y0418.346",1,"青岛银特五金工具有限公司","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","高压灭菌锅"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",1707008388,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",33239,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","2018-04-1514",1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",34105,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","2018-04-778",1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","2018-04-1523",1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","047014",1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","047019",1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",1704076917,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",1704076919,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",190499007,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",1801057924,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","换热机组"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",18060239412,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","换热机组"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",33242,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","换热机组"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",190763313,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","淋浴机组"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",190763310,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",18078909,1,"杭州华科仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","电接点压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",14111491,1,"杭州华科仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","C15265",1,"沈阳虹润自动仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",1707008383,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","水泵房"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",33285,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","水泵房"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",1707008415,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","水泵房"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",1707008392,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","水泵房"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","0000602",1,"上海亭山仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","水泵房"]
["宝鸡牧场","电接点压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",2015008139,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","水泵房"]
["宝鸡牧场","耐震压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",12061610,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","HJ6848",1,"沈阳虹润自动仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",1801953,1,"沈阳虹润自动仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",33297,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",15203080,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","HJ6890",1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","015003110",1,"沈阳大成仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","2018-04-1253",1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","A0182-2461",1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","2018-04-1516",1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","2018-04-1524",1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","2018-04-1521",1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","糖蜜管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",33254,1,"沈阳亚特仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","糖蜜管道"]
["宝鸡牧场","压力表","0-2.5Mpa","1.6Mpa","0-2.5Mpa",12759909,1,"富阳仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","糖蜜管道"]
["宝鸡牧场","压力表","0-2.5Mpa","1.6Mpa","0-2.5Mpa","CN3636",1,"沈阳虹润自动仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","糖蜜管道"]
["宝鸡牧场","压力表","0-2.5Mpa","1.6Mpa","0-2.5Mpa",305040,1,"富阳仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","糖蜜管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",306505,1,"富阳仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-2.5Mpa","1.6Mpa","0-2.5Mpa",13016004943,1,"沈阳大成仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","D0150-6589",1,"沈阳大成仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","CU5257",1,"沈阳虹润自动仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","压力表","0-2.5Mpa","1.6Mpa","0-2.5Mpa","CN3625",1,"沈阳虹润自动仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","供水管道"]
["宝鸡牧场","电接点压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",76136,1,"上海荣华仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","电接点压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa","A0082",1,"上海荣华仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","锅炉"]
["宝鸡牧场","耐震压力表","0-1.6Mpa","1.6Mpa","0-1.6Mpa",50705843,1,"杭州东亚仪表厂","6个月","是","2019-08-22","2020-02-21","通辽市产品质量计量检测所","安全防护","锅炉"]